## Usage
Experiment tab
1.1 | Fill in general info.
1.2 | Experiement parts: Expand/modify the part list. (Matlab may use this info to populate a categorical variable in the data.)
1.3 | Fill in technical info.
Protocol tab
2.1 | Insert/write the full experiement protocol in the Protocol tab.
Categories tab
3.1 | Review and modify/expand the category definitions to include all interventions and events from the protocol tab
Notes tab
4.1 | Fill in as much as possible before the experiement: Protocol events and variables (column F-H) should be filled in on beforehand.
4.2 | Hide/unhide the time format you want to use (either as timestamp in column B or as elapsed time in column C)
4.3 | Hide/unhide the controlled parameter columns as needed for the experiement
Remark: The rule of thumb is that categories will be used for all data rows until next next timestamp is given, while meassured parameters will remain as time instants. Notes also that '-' is a placeholder value for not applicable, while empty cells are missing values.
Remark: Categoric variables have dropdown lists relying on the Categories tab. During the experiment one may type free text and e.g. one can e.g. refer to a category number with a hard copy of the cateogory definitions at hand.
Save this file
5.1 | Save with filename on the format [Experiement ID] - Experiment notes - Rev[revision no]
Save in subfolder named with the experiement ID

## Experiment
General info
Name | IV LVAD Cardiaccs
ID | IV_LVAD_CARDIACCS_1
Objective | Test new sensors from Cardiaccs, aquire more data and to gain experience with the experimental setup.
Description | Experiment in a custom-made closed blood circuit, with thromboembolic material inserted by clinical procedures to avoid air pockets/bubbles in the circiut.
Category | In-vitro
Participants | Itai, Didrik, Per Steinar
Experiment parts
1 | Pre-intervention baseline, with RMP changes
2 | Thombus injections
3 | Post-intervention baseline after thrombosis, with RPM changes
Technical info
Blood type | Porcine blood
Thrombus creation | Centrifuge
Thrombolysis substance | -
Sampling equipment | Cardiaccs CARDIBOX V3, DEV02D, 520-540 Hz
Sensors | 3-component Cardiaccs accelerometer; 3-component Cardiaccs accelerometer
Sensors location | One accelerometer one LVAD at the inflow canula; One accelerometer one the lead
Other infomation | The accelerometer on LVAD is recorded with a PC with the name Surface; The accelerometer on the lead is recorded with a PC with the name Teguar

## Notes
[6 empty] | Controlled parameters |  |  |  | Meassured parameters
Date | Timestamp | Elapsed time | Experiment part | Experiment sub-part | Event | Thrombus volume | Speed change rate | Dose | Pump speed | Afferent pressure | Effenrent pressure | Flow | Power | Comment
(dd-mm-yyyy) | (hh:mm:ss) | (sec) |  |  |  | (ml) | (RPM/min) | (AU) | (RPM) | (mmHg) | (mmHg) | (l/min) | (W)
2018-12-07 | 16:14 |  | 1 | Baseline | - | - |  |  | 2600 | - | - | - | -
2018-12-07 | 16:19 |  | 1 | Baseline | - | - |  |  | 2600 | 3 | 68 | 3.8 | 3.2
2018-12-07 | 16:22 |  | 1 | Intervention | Pump speed change | - |  |  | 2000 | - | - | - | -
2018-12-07 | 16:23 |  | 1 | Intervention steady-state | - | - |  |  | 2000 | 21 | 61 | 3 | 1.6
2018-12-07 | 16:24 |  | 1 | Intervention | Pump speed change | - |  |  | 2300 | - | - | - | -
2018-12-07 | 16:25 |  | 1 | Intervention steady-state | - | - |  |  | 2300 | 12 | 65 | 3.3 | 2.3
2018-12-07 | 16:27 |  | 1 | Intervention | Pump speed change | - |  |  | 2600 | - | - | - | - | New baseline?
2018-12-07 | 16:28 |  | 1 | Intervention steady-state | - | - |  |  | 2600 | 3 | 68 | 3.8 | 3.2
2018-12-07 | 16:30 |  | 1 | Intervention | Pump speed change | - |  |  | 2900 | - | - | - | -
2018-12-07 | 16:31 |  | 1 | Intervention steady-state | - | - |  |  | 2900 | -8 | 72 | 4.2 | 4.4
2018-12-07 | 16:32 |  | 1 | Intervention | Pump speed change | - |  |  | 2600 | - | - | - | - | Not written in hand-notes
2018-12-07 | 16:33 |  | 1 | Intervention | - | - |  |  | 2600 | 3 | 68 | 3.9 | 3.2
2018-12-07 | 16:34 |  | - | Pause | - | - |  |  | 2600 | - | - | - | - | End experiment part 1
2018-12-07 | 16:47 |  | 2 | Baseline | - | - |  |  | 2600 | 3 | 69 | 3.8 | 3.2
2018-12-07 | 16:52 |  | 2 | Intervention | Thrombus injection | 0.25 |  |  | 2600 | - | - | - | -
2018-12-07 | 16:54 |  | 2 | Intervention steady-state | - | 0.25 |  |  | 2600 | 3 | 69 | 3.8 | 3.2
2018-12-07 | 16:56 |  | 2 | Intervention | Thrombus injection | 0.3 |  |  | 2600 | - | - | - | -
2018-12-07 | 16:59 |  | 2 | Intervention steady-state | - | 0.3 |  |  | 2600 | 4 | 69 | 4,0 | 3.3 | Uncertain if the timestamp should be 16:58:00 or 16:58:30.
2018-12-07 | 17:02 |  | 2 | Intervention | Thrombus injection | 0.3 |  |  | 2600 | - | - | - | -
2018-12-07 | 17:04 |  | 2 | Intervention steady-state | - | 0.3 |  |  | 2600 | 10 | 66 | 3.9 | 3.3
2018-12-07 | 17:08 |  | 2 | Intervention | Thrombus injection | 0.1 |  |  | 2600 | - | - | - | -
2018-12-07 | 17:10 |  | 2 | Intervention steady-state | - | 0.1 |  |  | 2600 | 14 | 64 | 3.6 | 3.1
2018-12-07 | 17:13 |  | 2 | Intervention | Thrombus injection | 0.1 |  |  | 2600 | - | - | - | -
2018-12-07 | 17:15 |  | 2 | Intervention steady-state | - | 0.1 |  |  | 2600 | 14 | 65 | 3.7 | 3.2
2018-12-07 | 17:18 |  | 2 | Intervention | Thrombus injection | 0.1 |  |  | 2600 | - | - | - | -
2018-12-07 | 17:21 |  | 2 | Intervention steady-state | - | 0.1 |  |  | 2600 | 13 | 65 | 3.7 | 3.2 | Uncertain if the timestamp should be 17:20:00 or 17:21:00.
2018-12-07 | 17:23 |  | 2 | Intervention | Thrombus injection | 0.3 |  |  | 2600 | - | - | - | -
2018-12-07 | 17:25 |  | 2 | Intervention steady-state | - | 0.3 |  |  | 2600 | 15 | 64 | 3.6 | 3.1
2018-12-07 | 17:31 |  | 2 | Intervention | Thrombus injection | 0.5 |  |  | 2600 | - | - | - | -
2018-12-07 | 17:33 |  | 2 | Intervention steady-state | - | 0.5 |  |  | 2600 | 18 | 63 | 3.3 | 3
2018-12-07 | 17:34 |  | - | Pause | - | - |  |  | 2600 | - | - | - | - | End experiment part 2; Must check end time (just in case)
2018-12-07 | 17:38 |  | 3 | Baseline | - | - |  |  | 2600 | 17 | 63 | 3.4 | 3.1
2018-12-07 | 17:40 |  | 3 | Intervention | Pump speed change | - |  |  | 2000 | - | - | - | -
2018-12-07 | 17:42 |  | 3 | Intervention steady-state | - | - |  |  | 2000 | 29 | 59 | 3 | 1.6
2018-12-07 | 17:42 |  | 3 | Intervention | Pump speed change | - |  |  | 2300 | - | - | - | -
2018-12-07 | 17:43 |  | 3 | Intervention steady-state | - | - |  |  | 2300 | 24 | 61 | 3.1 | 2.2
2018-12-07 | 17:44 |  | 3 | Intervention | Pump speed change | - |  |  | 2600 | - | - | - | -
2018-12-07 | 17:45 |  | 3 | Intervention steady-state | - | - |  |  | 2600 | 18 | 63 | 3.3 | 3
2018-12-07 | 17:46 |  | 3 | Intervention | Pump speed change | - |  |  | 2900 | - | - | - | -
2018-12-07 | 17:47 |  | 3 | Intervention steady-state | - | - |  |  | 2900 | 11 | 66 | 3.6 | 4
2018-12-07 | 17:48 |  | - | Experiment end | - | - |  |  | - | - | - | - | - | End experiment part 3; Must check end time (just in case)

## Categories
Experiment | Experiment sub-part | Event
In-vitro | - | -
In-vivo, human | Baseline | Accelerometer position change
In-vivo, porcine | Calibration | Afferent pressure change
In-vivo, sheep | Continue from pause | Coagulation start
In-silico | Experiment end | Efferent resistence change?
Ex-vivo, human | Intervention | Lysis start
Ex-vivo, porcine | Intervention steady-state | Manually imposed vibration
Ex-vivo, sheep | Pause | Pump speed change
| Unknown | Pump speed ramping end
Pump speed ramping start
System flush
Thrombus injection
Note on A1: Didrik: Metadata categories, just to keep track of data files/ data sets
Note on B1: Didrik: Categories used for splitting data into parts with coding. (It is not a categorical variable to be used as input to data analysis.)
Note on C1: Didrik: Categorical variable to represent interventions in data analysis and other events used for sensor calibration. Intervention categories iinfo willl be fused with signal data. Events/interventions will be considered as ongoing until next row in 'Notes', unless it is an events/interventions that is running in parallell over several rows (timestamps). Such parallell events/interventions must constain the word 'start' to be identidfied. They will run until end of experiement or until a corresponding event containing the word 'end' (instead of 'start'). Note that 'pause', 'unknown' and 'other' will not make sence for the analytical use of these information, thus these words should be avoided.